Centrifuges

Medical electronics

MDE 223- 81

Submitted by

Mohamed Saad Fathy                    20203139

Moamen Mohamed                      20180925

Ahmed Mansour El-demardash   20180157

Supervising by

P.Dr. Amal El Dessouky

Eng. Manar Fathy

logo

Dec.2023

ACKNOWLEDGEMENT

I cannot express enough thanks to the supervisors for their continuous support and encouragement: Dr. Amal El Dessouky and Eng. Manar Fathy. I offer my sincere appreciation for the learning opportunities you provide us.

This project would not have been possible without the support of my classmates. Moamen Mohammed, Ahmed Mansour.

Centrifuges

1-introduction ……………………………………………………………………………..…………………………………..….…  4

2- What is a Centrifuge? ……….………………………………………………………………………………………….……   5

3- How Centrifuges Work………………………………………………………………………………………………….……   5

4- Types of Centrifuges ?.......………………………………………………………………………………………….………  6

5- Componen…..………………………………………………………………………………………………………………….….  7

5-1 Circuit power supply 12V…….………………………………………………………………………………....  7

6- Proteus ……………………………………………………………………..………………………………………………….......  8

7- block diagram of centrifuge …………………………………………………………………………………..………....  8

8- Software……………………………………….……………………………………………………………………………..….…  9

9- Software……………………………………….………………………………………………………………………………….. 10

10 - Software……………….…………………….…………………….………………………………………………………...... 11

11- Comparison between Centrifuges our own and your companies ………….…………..…….……....12

12- Steps - Final Project………………………..……………………………………………………………………….……... 13

13 - Reference………………………………...……………………………………………………………………………..………14

Centrifuges

1-Introduction

- What is a Centrifuge?

- How Centrifuges Work ?

- Types of Centrifuges ?

- Component  ?

- Hardware ?

- Software    ?

- Comparison between Centrifuges our own and your companies  ?

- Steps - Final Project ?

- Reference ?

2-What is a Centrifuge?

A centrifuge is a scientific device that is used to separate fluids, gasses, or liquids based on the density of the subject. The separation is acquired by spinning a container with the material at a very high speed. The resulting forces created will then cause the heavier materials to travel to the bottom of the container.

3-How Centrifuges Work

A centrifuge works through the principle of sedimentation which is under the influence of gravitational force and centrifugal force and thus separating the substances based on their densities. The various types of separation techniques are known as isopycnic technique, pelleting technique, density gradient technique, phase separation and ultrafiltration techniques. Pelleting is the most common application of most centrifuges. At the base of the tube of the centrifuge, the particles are concentrated as a pellet and they are separated from the remaining solution and it is known as supernatant. Chemicals are converted during the separation phase from a matrix or aqueous solution into a solvent.

4-Types of Centrifuges ?

Benchtop centrifuges

Benchtop centrifuges are popular for their characteristic feature of requiring small space on the benchtop. Other features of benchtop centrifuges are the speed (RCF) of this centrifuge; it ranges from a few hundred to 50,000 x g and has interchangeable rotors; fixed angle, continuous flow, and swinging bucket rotors are available. Tubes of benchtop centrifuges range from less than 1 ml to a few liters.

Microcentrifuges

As the name suggests, the microcentrifuges accommodate tubes containing small/micro volumes of samples like 2 ml, 1.2 ml, 0.5 ml, and tubes. So, these apply most frequently in the microbiological laboratory for separating nucleic acid and proteins. It typically spins at speeds up to 16,000x g, but in the case of specialized forms, the rate can reach up to 30,000 x g. Some models also have

Ultracentrifuges

The acceleration speed of ultracentrifuges is typically up to 1,00,000 x g, but the rate can reach 2,00,000 x g.

Vacuum centrifuges

Vacuum centrifuge uses centrifugal force, vacuum, temperature, and gas to remove liquid or gas from the sample to concentrate or desiccate the samples. Purifying nucleic acids, proteins, peptides, and other components used in research laboratories are some its uses.

Component

- Box ( design )

- Electric Motor 12 V

- Circuit power supply 12V

- Sensor SMPS

- Test Tube

- Arduino

- Timer

5-1 Circuit power supply 12V

- Capacitor

- TRANSFORMER 12V

- DIODE

- Resistors

- SMPS

- Push button

- LM 37

- Fuse

Hardware

6-Proteus

7-block diagram of centrifuge

Software

code

#include <LiquidCrystal_I2C.h>

LiquidCrystal_I2C lcd(0x27, 16, 2);

int buzzer = 4;

int button1 = 7;

int button2 = 8;

int button3 = 9;

int button4 = 10;

int relay = 11;

int minutes = 0;

int seconds = 0;

bool timerRunning = false;

unsigned long previousMillis = 0;

void setup() {

lcd.init();

lcd.clear();

lcd.backlight();

pinMode(buzzer, OUTPUT);

pinMode(button1, INPUT_PULLUP);

pinMode(button2, INPUT_PULLUP);

pinMode(button3, INPUT_PULLUP);

pinMode(button4, INPUT_PULLUP);

pinMode(relay, OUTPUT);

digitalWrite(relay, HIGH);

}

void loop() {

if (timerRunning) {

unsigned long currentMillis = millis();

if (currentMillis - previousMillis >= 1000) {

previousMillis = currentMillis;

if (seconds > 0) {

seconds--;

} else if (minutes > 0) {

minutes--;

seconds = 59;

} else {

timerRunning = false;

digitalWrite(relay, HIGH);

digitalWrite(buzzer, HIGH);

delay(2000);

digitalWrite(buzzer, LOW);

}

}

if (seconds == 0 && minutes == 0) {

digitalWrite(relay, HIGH);

} else {

digitalWrite(relay, LOW);

}

}

lcd.setCursor(2, 0);

lcd.print("Timer: ");

lcd.print(minutes);

lcd.print(":");

if (seconds < 10) {

lcd.print("0");

}

lcd.print(seconds);

if (digitalRead(button1) == LOW && !timerRunning) {

minutes++;

}

if (digitalRead(button2) == LOW && !timerRunning) {

seconds++;

}

if (digitalRead(button3) == LOW && !timerRunning) {

timerRunning = true;

previousMillis = millis();

digitalWrite(relay, LOW);

}

if (digitalRead(button4) == LOW && timerRunning) {

timerRunning = false;

minutes = 0;

seconds = 0;

digitalWrite(relay, HIGH);

}

}

Comparison between Centrifuges our own and your companies

| Manufacturer ‏ : ‎ ONiLAB | Manufacturer ‏ : ‎ By teams |
| --- | --- |
| Price : 7,000 EG Website amazon Link : https://www.amazon.com/ONiLAB-Lab-PRP-Centrifuge/dp/B09K74JRRF?th=1 | Price : 500 EG |
| Component - (lcd- timer – potentiometer- Test Tube - Relays ) | Component - (lcd- timer – potentiometer- Test Tube- Relays ) |
| Test Tube High | Test Tube Low |
| It is used in laboratories | It is used in laboratories |

Steps - Final Project

Reference

…………………………………………………………………………………………………

Link Driver

https://drive.google.com/drive/folders/1ENP1YxxDAsi6BADJ1lQouaTb1RQ3YG1z?usp=sharing